- MINUTES

LOWER SALFORD TOWNSHIP AUTHORITY                                        2, October 2024

The Meeting of the Board of the Lower Salford Township Authority was held on October 2, 2024,

in person and via Zoom. The meeting was called to order at 7:00 a.m. by Dave Scheuren, Vice-

Chairman.  Mr. Janetka joined the meeting at 7:20 am.

- Persons IN AttendAnce:

- Members:  Karl Janetka, Chairman; Dave Scheuren, Vice-Chairman; Jim Natale Treasurer; and Dave Spause, Assistant Secretary/Treasurer.

- Staff:  Craig Forwood, P.E. Operations Manager; Connie Weimer, Business Manager.

- APPROVAL OF MINUTES:

- Upon the motion of Mr. Spause, seconded by Mr. Natale, the Board voted to approve the Minutes

- of the September 4, 2024, meeting by a vote of 3 in favor, 0 against.

- PUBLIC FORUM:

- None.

- OPERATIONS MANAGER:

- Status Long Range Projects – Mr. Forwood presented his report. A copy of the report is included with these minutes.  The Quarry Road project remains under review with DEP.  The Board member form the Salford Meadows HOA did respond to Mr. Forwood.  Sewer Specialty Services is to begin the cleaning and televising of the lines by the middle of October.

- Mainland Plant Replacement Actuator for Orbal Outlet Valve – Mr. Forwood reported on the purchase of a new actuator for the orbal outlet valve at a cost of $8,270 to replace the broken actuator.

- Harleysville Plant Storm Flow Gate and Actuator – The quote was not received in time for the meeting; therefore, action was deferred until the next meeting.

- Backup Power for Grinder Pumps – DEP requires developers to provide back-up power for a grinder pump serving multiple dwelling units. The township requested the Authority draft specifications for permanent generators as temporary generators are not acceptable.  The Board authorized the staff to work with the engineer to draft specifications including requirements for noise reduction and testing.

- Odor Complaint – A resident on Freed Road called to complain about the odor from the Mainland Plant.  Prior to the call, the staff found a problem with the digester blower where there was not enough oxygen.  The problem was rectified, but it took a few days for the process to settle and the odor to dissipate.  The resident was advised of the situation and actions taken by the staff.

- BUSINESS MANAGER:

- CIV VI DEV PA1M03, LLC – 59 Fretz Road Reservation of Capacity Agreement – Upon the motion of Mr. Janetka, seconded by Mr. Spause, the Board voted to execute the Fretz Road Third Amendment to Reservation of Capacity Agreement Expires August 31, 2026, by a vote of 4 in favor, 0 against.

- PLGIT Update CD Agreement – Upon the motion of Mr. Scheuren, seconded by Mr. Natale, the Board voted to execute the PLGIT CD Agreement revised for the U. S. Bank New Titled Investment Advisor, by a vote of 4 in favor, 0 against.

- 2025 Preliminary Operating Budget – A copy of the preliminary 2025 consolidated budget was distributed.  This is a work in process as updates will be provided at each of the next Authority meetings.

- OLD BUSINESS:

- None.

- NEW BUSINESS:

- Staffing Update – An advertisement for the part time office position is on the Township’s website.

- LSTA Property – Mr. Forwood reported that a fort structure has been built near the Skippack Creek.  He will pursue to determine if the structure is on the Authority’s property.

- EXECUTIVE SESSION:

None

- ADJOURNMENT:

There being no further business, upon the motion of Mr. Janetka, seconded by Mr. Spause, the Board voted to adjourn at 7:30 a.m. by a vote of 4 in favor and 0 against.

- Respectfully Submitted,

- Connie Weimer