- MINUTES

LOWER SALFORD TOWNSHIP AUTHORITY                                         3, May 2023

The Workshop Meeting of the Board of the Lower Salford Township Authority was held on May 3, 2023,

in person and via Zoom. The meeting was called to order at 7:00 a.m. by Karl Janetka, Chairman.

- Persons IN AttendAnce:

- Members:  Karl Janetka, Chairman; Richard Prescott, Vice-Chairman; Dave Scheuren, Secretary; and Barry Bohmueller, Assistant Secretary/Treasurer.

- Staff:  Craig Forwood, P.E. Operations Manager and Connie Weimer, Business Manager.

- APPROVAL OF MINUTES:

- Upon the motion of Mr. Scheuren, seconded by Mr. Prescott, the Board voted to approve the minutes of the

- April 5, 2023, meeting by a vote of 4 in favor, 0 against.

- PUBLIC FORUM:

- None.

- OPERATIONS MANAGER:

- Status Long Range Projects – Mr. Forwood presented his report. A copy of the report is included with these minutes.

- Mainland Plant Replace RAS Flow Meter Krohne Optiflux 4” - Mr. Forwood presented a quote from LRM to purchase and install a new mag meter in the amount of $6,696.24 for the Mainland Plant.  Upon the motion of Mr. Janetka, seconded by Mr. Prescott, the Board approved the mag meter purchase by a vote of 4 in favor, 0 against.

- Bramblewyck Pump Station New Electric Grinder – Mr. Forwood presented a Costars quote from Eastern Environmental Contractors Inc. to purchase and install a JWC Muffin Monster Sewage Grinder in the amount of $64,500.  The purchase was included in the capital budget and will eliminate the staff from manually cleaning the pump station basket.  Upon the motion of Mr. Janetka, seconded by Mr. Prescott, the Board voted to approve the $64,500 purchase by a vote of 4 in favor, 0 against.

- Quarry Road New Enclosure for Existing Hydraulic Grinder Power Unit – Mr. Forwood presented a quote from Excelsior Blower Systems to purchase a hydraulic grinder enclosure in the amount of $2,947.  The enclosure will provide protection from the elements and reduce noise.  The Quarry Road pump station will be a test and if successful, it could be purchased for the Tyson Road and Salford Lea pump stations.  The Board agreed to the purchase.

- Oak Ridge Pump Replacement – Mr. Forwood reported on the purchase of a second pump at a cost of $9,131.  The pump continued to clog similar to the problem with the other pump.  Due to the age of the pump, there are no parts to repair it.  The Board agreed to the purchase.

- Mainland Plant AuqaStorm Wet Weather Pilot Program – Mr. Forwood presented information on a pilot program from AquaStorm at a cost of $19,500.  The system addresses both filtering and stormwater.  The pilot program could be used as a comparison to an EQ tank.  There were questions regarding the operating cost and if DEP would approve of the system.  The Board suggested getting the Authority engineer involved and to

invite DEP to the site during the pilot program.  Upon the motion of Mr. Prescott, seconded by Mr. Janetka, the Board voted to approve the pilot program with AquaStorm at a cost of $19,500 by a vote of 4 in favor, 0 against.

- BUSINESS MANAGER:

- Mainland Pointe Arby’s & Popeye’s DEP Response – Ms. Weimer reported the Authority received a response from DEP which denied the post card exemption from planning for the proposed Arby’s and Popeye’s restaurants.  The letter requested the developer’s engineer provide additional information on the various phases and changes that were made from the original planning approval.

- OLD BUSINESS:

- 537 Plan Project Update – The Authority staff completed the review of the township parcels, and the files were sent to the engineer to evaluate.

- NEW BUSINESS:

- Summer Hours – The Board approved the request for summer hours from June 5th through August 28th.

- Salford Quarry Superfund Site Discharge Request – The Authority staff met with the Environmental Engineering firm, CDM Smith, who are designing a restoration project at the Salford Quarry Superfund site on Quarry Road.  They are requesting the Authority’s consideration to discharge clean ground water to the sanitary sewer.  The design would install a ground water drain upgradient of the site to lower the water table.  Upon the motion of Mr. Prescott, seconded by Mr. Bohmueller, the Board voted to deny the request from CDM Smith Environmental Engineers by a vote of 4 in favor, 0 against.

- EXECUTIVE SESSION:

None.

- ADJOURNMENT:

There being no further business, upon the motion of Mr. Prescott, seconded by Mr. Bohmueller, the Board voted to adjourn at 8:05 a.m.by a vote of 4 in favor and 0 against.

- Respectfully Submitted,

- Connie Weimer